Street Lighting Capital Project
Reason for the project

· Future proof the street lighting service for upcoming challenges.
· Ensuring streetlights are compliant with dark sky and biodiversity measures.
· Improve safety, active travel, recreation, and social activity for residents. 
· Providing lighting where it is required.
· Removing lighting where it’s not needed.
· Upgrading ageing infrastructure.
· Energy and CO2 savings. (Up to 50% savings can be achieved)
Areas where we want to provide lighting.
· In towns and villages - within 20/30mph speed limit signs.
· Lights that were turned off in 2008 in these areas will be re-illuminated.
Areas where we would like to remove or limit lighting.
· Not required on 40mph and national speed limit roads.
· On remote footpaths and roads.
· Lights on private roads.
· Lights that were switched off in 2008 and which we feel are no longer required.
· One-off streetlights in small hamlets if communities agree.
· Dark sky areas.

· Biodiversity sensitive areas.

· Sign illumination can be removed on specific signs within 20mph zones.
New switching regime
· Currently we have 3 switching regimes – off, part night (turns off between midnight and 5:30am) and all night.
· The new regimes will either be part night or part night dimmed (dims power down to 50% output between midnight and 5:30am)
· Lights that are currently off or part night will be converted to part night.
· Lights that are currently all night will be converted to part night dimmed.
· Off lights and redundant lights will be removed completely.

New colour temperature of lighting
· The new lanterns will have a dark sky and biodiversity friendly 2200K (orange) colour temperature.
· These will replace the 4000/5000K (white) lights we are currently using.
· Residents will either love or hate the new colour temperature as they may appear dimmer – it will take at least a month for people to get used to the new lights, so, please bear this in mind before you pass any complaints onto the street lighting section.
